Specification of Solar Dryer for Bagrote, Gilgit-Baltistan

Solar Drying Unit

| Sr # | Items | Specification |
| --- | --- | --- |
| 1 | Solar Dryers unit | - Solar Dryers for Drying of Fruits - Capacity 400 to 500 Kg - Size (Width:21ft, Length:25ft, Height:9ft) - Rust Free trays frame pipe ½x 1’’ (3ft*3ft) 70 numbers - Number of stands 2 for making trays internal side - Covered with Multi Wall Poly Carbonate Hollow Sheet 6mm thick - Main Structure (40*40) mm MS Pipe with Best Quality Guage18 Paint Coated - Temperature controller thermostat device - Exhaust Fan (16''*16'') (03 Nos) - Heating System for Cloudy Weather used with LPG cylinder (11kg) - Civil Work - Transportation and installation |
| 2 | Solar system Inverter and Battery | - Solar Panel at least 550W Mono perc with Accessories. - Solar Hybrid Inverter at least 800-watt ppt based make with battery at least 150, 12V with complete wiring and fitting. - Stand for solar panel with at least 40x40mm Ms pipe. |